## osk19nt-Atto532
| uM/UNIT |  | volume (ul) | Final c | Modification | Atto532 |  |  |  | excess | concentration | E | max | CF260 | enzyme
H2O | - |  | 6.8333 | 66.6667 | amount of probe | 1000 | pmol |  | Biotin | 3 | 5000 | 0 | 0 | 0 | 0.006
oligo (uM) | 240 | 4.1667 | 4.1667 | 333.3333 | Molar excess of ddUTP | 5 |  |  | Atto 565 | 5 | 5000 | 120000 | 570 | 0.34 | 0.012
buffer (x) | 5 |  | 3 | 0.8 | Enzyme | 0.012 | unit per pmol |  | Atto 633 | 3 | 5000 | 130000 | 634 | 0.05 | 0.006
ddUTP (uM) | 5000 | 1 | 1 | 1 |  |  |  |  | no modification | 2.5 | 1 | 0 | 0 | 0 | 0.006
TdT (U/ul) | 20 | 0.6 | 0.6 | [5 empty] | BDP-FL | 5 | 2500 | 80000 | 507 | 0.015 | 0.006
Total volume |  |  | 15 | [5 empty] | Atto532 | 5 | 5000 | 115000 | 535 | 0.2 | 0.012
[9 empty] | Atto 488 | 5 | 5000 | 90000 | 502 | 0.22 | 0.006
Resuspension volume | 25 |  | ul | 18.4615 | % loss
NOTE: adjust the labeled ddUTP parameters (e.g. concentration and enzyme standard amount) when making new labeled nucleotide and/or starting a new batch of enzyme
OD260 of unlabeled oligo |  |  | 43.08 | E | 188500
|  |  | OD535 | c (uM) |  |  |  | volume to 1000 pmol
labeled oligo | 6.87 | 0.2 | 3.61 | 32.6154 | 0.96247 |  | 815.3846 | 30.6604 |  | 0.61321 | 3.066
Number of different oligos: | 15
Target conc/probe (nM) | 2
Dilution (x) | 1087.1795 |  | in | 250 | ul hybridization volume use |  | 0.22995 | ul probe mix
Protocol
1 | fill the upper half of the chart providing the concentration of the oligo, the amount of probe to be labeled and the intended modification (cells highlighted in green) | [12 empty] | Key:
2 | set up the reaction mixture as shown in the cells highlighted in red in a PCR tube and incube O/N (16-18h) at 37C in a PCR machine with the hotlid on (IMPORTANT) | [12 empty] | mandatory input
3 | precipitate the probe by adding NaAcetate (pH=5.5-7.0 300 mM final concentration) and dH20 up to 200 ul | [12 empty] | optional input
| add 1.5 ug linear acrylamide and 800 ul 100% EtOH prechilled at -20C | [12 empty] | output
4 | transfer to -20C for 15-20 minutes
5 | spin at ~16000 g at 4 C for 20 minutes
6 | remove the supernatant, wash with 1ml of ice cold 80% EtOH - vortex the pellet
7 | spin at ~16000 g at 4 C for 5 minutes
8 | transfer the pellet into a new Eppendorf tube and repeat Steps 6 and 7 two times
9 | remove as much of the EtOH as possible
10 | air-dry, resuspend and measure OD @ 260 nm and at the dye absorption maximum (except biotin)
11 | fill in the values to the lower half of the chart (green cells) - measure the OD260nm of the unlabeled oligo as well (at the same concentration as used at the start of the labeling)
12 | get the concentration and the degree of labeling (DOL - except for biotin) from the chart