Appendix I–3C library preparation

Agilent ScreenTape assessments

3C library:

After efficient ligation, the peak should be > 30 kb.

Digestion efficiency

Notes:

      - Either the Taqman or the SYBR assay can be used to assess digestion efficiency.

      - The primer sequences below are for mouse DNA. If using other species, two sets of primers should be designed: one pair spanning a DpnII restriction site, and one pair within a DpnII restriction fragment.

      - PCR conditions are optimized for the Applied Biosystems Step One Plus thermocycler and should be adapted for other machines.

      - Genomic DNA can be used as the undigested control. A dilution series of gDNA with the genomic primer can be used to determine DNA concentration.

Taqman Assay–Hba:

Mouse DpnII digestion efficiency:

Forward: GTGTCACCAAAACCAGCTCA (18 μM)

Reverse: CCTGGAATCCTTTGGCTCAAG (18 μM)

Probe: GGGCAGCTAAGATGCAAGTC (5 μM)

Mouse genomic control:

Forward: TGGAGGGCATATAAGTGCTACTTG (18 μM)

Reverse: TGCTTTTGTCTTCCCCAGAGA (18 μM)

Probe: TGCAGGTCCAAGACACTTCTGATTCTGACA (5 μM)

|  | Volume |
| --- | --- |
| TaqMan Master Mix | 10 μl |
| Probe + Primers | 1 μl |
| Water | 7 μl |
| DNA (10 ng/μl) | 2 μl |

| Step | Temperature | Taqman |
| --- | --- | --- |
| Step 1 | 50 °C | 2 min |
| Step 2 | 95 °C | 10 min |
| Step 3 | 95 °C | 15 sec |
| Step 4 | 60 °C | 60 sec |
| Step 5 | Go to Step 3 | 40 cycles |

SYBR Assay–PKDREJ:

Mouse DpnII digestion efficiency:

Forward: GGAGAAAGAAGGCTGGTGTTAT

Reverse: TATCTGAGTTGGACAGCATTGG

Mouse genomic control:

Forward: TTATCTTGCATTTGCCAACTCG

Reverse: TGGGTTTCCCTGATTCTGAAA

|  | Volume |
| --- | --- |
| 2x KAPA SYBR (+ROX) | 10.4 μl |
| Primer mix (10μM) | 0.6 μl |
| Water | 7 μl |
| DNA (10 ng/μl) | 2 μl |

| Step | Temperature | SYBR |
| --- | --- | --- |
| Step 1 | 95 °C | 20 sec |
| Step 2 | 95 °C | 3 sec |
| Step 4 | 60 °C | 30 sec |
| Step 4 | Go to Step 2 | 40 cycles |
| Step 5 | Melt curve | – |

Example calculation:

|  | Probe | CT | StDev | ∆CT (DpnII-Genomic) | ∆∆CT (C1-C2) | Digestion efficiency1 |
| --- | --- | --- | --- | --- | --- | --- |
| gDNA | Genomic | 24.863 | 0.0897 | 0.397 | -2.475 | 82.013 % |
|  | DpnII | 25.260 | 0.0245 |  |  |  |
| 3C-library | Genomic | 22.384 | 0.0399 | 2.872 |  |  |
|  | DpnII | 25.256 | 0.00751 |  |  |  |

1 Efficiency = 100 x (1-2∆CT)

Appendix II–LI-Capture-C

Matching indices

NEBNext Primer Set 1: 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12

NEBNext Primer Set 2: 13, 14, 15, 16, 18, 19, 20, 21, 22, 23, 25, 27

Nimblegen HE-Oligo Kit A: 2, 4, 5, 6, 7, 12, 13, 14, 15, 16, 18, 19

Nimblegen HE-Oligo Kit B: 1, 3, 8, 9, 10, 11, 20, 21, 22, 23, 25, 27

Agilent ScreenTape assessments

Sonication:

Post Indexing PCR:

Appendix III–Tag-Capture-C

Index primers

| Name | Primer Sequence |
| --- | --- |
| Ad1_universal | AATGATACGGCGACCACCGAGATCTACACTCGTCGGCAGCGTCAGATGTG |
| Ad2.1_TAAGGCGA | CAAGCAGAAGACGGCATACGAGATTCGCCTTAGTCTCGTGGGCTCGGAGATGT |
| Ad2.2_CGTACTAG | CAAGCAGAAGACGGCATACGAGATCTAGTACGGTCTCGTGGGCTCGGAGATGT |
| Ad2.3_AGGCAGAA | CAAGCAGAAGACGGCATACGAGATTTCTGCCTGTCTCGTGGGCTCGGAGATGT |
| Ad2.4_TCCTGAGC | CAAGCAGAAGACGGCATACGAGATGCTCAGGAGTCTCGTGGGCTCGGAGATGT |
| Ad2.5_GGACTCCT | CAAGCAGAAGACGGCATACGAGATAGGAGTCCGTCTCGTGGGCTCGGAGATGT |
| Ad2.6_TAGGCATG | CAAGCAGAAGACGGCATACGAGATCATGCCTAGTCTCGTGGGCTCGGAGATGT |
| Ad2.7_CTCTCTAC | CAAGCAGAAGACGGCATACGAGATGTAGAGAGGTCTCGTGGGCTCGGAGATGT |
| Ad2.8_CAGAGAGG | CAAGCAGAAGACGGCATACGAGATCCTCTCTGGTCTCGTGGGCTCGGAGATGT |
| Ad2.9_GCTACGCT | CAAGCAGAAGACGGCATACGAGATAGCGTAGCGTCTCGTGGGCTCGGAGATGT |
| Ad2.10_CGAGGCTG | CAAGCAGAAGACGGCATACGAGATCAGCCTCGGTCTCGTGGGCTCGGAGATGT |
| Ad2.11_AAGAGGCA | CAAGCAGAAGACGGCATACGAGATTGCCTCTTGTCTCGTGGGCTCGGAGATGT |
| Ad2.12_GTAGAGGA | CAAGCAGAAGACGGCATACGAGATTCCTCTACGTCTCGTGGGCTCGGAGATGT |

(Buenrostro et al., 2013)

Agilent ScreenTape assessments

Tagmentation:

Post Indexing PCR: