## Data
Date | Collector | Species | Individual | Sensor offset (V) | Reservoir Volume (mL) | Psix (MPa) | Pi (V) | Pf (V) | Pi (kPa) | Pf(kPa) | AD (mol) | AD (uL) | PAD (%)
2014-10-10 | Paulo/Luciano | Drimys brasiliensis | 1 | 1.219 | 3.915 | -0.15 | 4.117 | 4.097 | 37.9949 | 38.409 | 6.6516e-07 | 16.5434 | 1.005
2014-10-10 | Paulo/Luciano | Drimys brasiliensis | 1 | 1.219 | 3.915 | -0.5 | 4.112 | 4.09 | 38.0984 | 38.5539 | 7.3168e-07 | 18.1978 | 1.1055
2014-10-10 | Paulo/Luciano | Drimys brasiliensis | 1 | 1.219 | 3.915 | -1.6 | 4.1 | 3.65 | 38.3469 | 47.6644 | 1.4966e-05 | 372.2273 | 22.6131
2014-10-10 | Paulo/Luciano | Drimys brasiliensis | 1 | 1.219 | 3.915 | -1.7 | 4.06 | 3.112 | 39.1751 | 58.8041 | 3.1529e-05 | 784.1589 | 47.6382
2014-10-10 | Paulo/Luciano | Drimys brasiliensis | 1 | 1.219 | 3.915 | -3 | 4 | 2.475 | 40.4174 | 71.9936 | 5.0719e-05 | 1261.437 | 76.6332
2014-10-10 | Paulo/Luciano | Drimys brasiliensis | 1 | 1.219 | 3.915 | -3.1 | 3.84 | 2.28 | 43.7303 | 76.0312 | 5.1883e-05 | 1290.388 | 78.392
2014-11-10 | Paulo/Luciano | Drimys brasiliensis | 1 | 1.2 | 3.915 | -4.7 | 3.9 | 1.91 | 42.0946 | 83.2989 | 6.6184e-05 | 1646.0719 | 100

## Metadata
Metadata
Sensor offset (V) | Sensor reading at atmospheric pressure - in Volts
Reservoir Volume (mL) | Vacuum reservoir volume
Psix (MPa) | Sample xylem water potential
Pi (V) | Vacuum reservoir pressure before air discharge - in Volts
Pf (V) | Vacuum reservoir pressure after 2.5min of air discharge - in Volts
Pi (kPa) | Vacuum reservoir pressure before air discharge - in kPa. Sensor conversion factor used for conversion after removing sensor offset
Pf(kPa) | Vacuum reservoir pressure after 2.5min of air discharge - in kPa. Sensor conversion factor used for conversion after removing sensor offset
AD (mol) | Air discharged from sample after 2.5 minutes. Calculated as the difference between air in the vacuum reservoir before and after measurement. Some multipliers are to account for unit conversion (eg. kPa to Pa)
AD (uL) | Air discharged from sample after 2.5 minutes in equivalent uL at atmospheric pressure
PAD (%) | Percentage of maximum air discharged
Sensor is a PX141-015V5V (Omega Engineering, USA)
Vacuum reservoir is two rigid tubings (EW-30600-62, Cole Parmer, USA)
Voltmeter has a 0.001V resolution, allowing a 1Pa (0.83uL) precision approximately