## Slide 1
Practical instructions for using
the spectral unmixing sheet
0 - Instructions

## Slide 2
Paste the raw spectral data here
1 – Raw Data

## Slide 3
Substract the PBS background
2 – Minus PBS

## Slide 4
Paste reference
spectra here
Paste Sample
spectra here
Inspect reference
and sample spectra
Do not touch the
calculated reference spectra
3 – Data

## Slide 5
4 – Results
sfTq2ox spectrum
Unmixed in
components
mNG spectrum
Unmixed in
components
sfTq2ox unmixing differences
mNG unmixing differences
Calculated energy transfer
Do not touch the
Unmixing parameters

## Slide 6
Calculated energy transfer
5 – Summary
Copy and paste calculated
energy transfer rates here
Make a list of all samples
and the used constructs

## Slide 7
Do not alter the Donor unmixing data
These are the individually unmixed data
(may be usefull for presentation purposes)
Exc 450

## Slide 8
Do not alter the Acceptor unmixing data
These are the individually unmixed data
(may be usefull for presentation purposes)
Exc 504