## 1_Insert_PCR
exp_ID_1 | Insert_PCR
tube | DNA | target | fw_primer | rev-primer | dna.conc (ng/ul) | primer.conc (uM) | total.vol (ul) | total primer vol. (ul) | dna (ng) | dna (ul) | readymix | water (ul) | expected_size | anneal_temp
1 | water | NA | pAF176-1.FOR | pAF176-1.REV | 0 | 10 | 20 | 1.2 | 0 | 0 | 10 | 8.8 | 0 | 70-60 by 1, 65 30x
2 | Lymph node cDNA | saha_CD200 for pAF176 | pAF176-1.FOR | pAF176-1.REV | 10 | 10 | 20 | 1.2 | 10 | 1 | 10 | 7.8 | 643 | 70-60 by 1, 65 30x
3 | Peripheral blood cDNA | saha_CD200 for pAF176 | pAF176-1.FOR | pAF176-1.REV | 10 | 10 | 20 | 1.2 | 10 | 1 | 10 | 7.8 | 643 | 70-60 by 1, 65 30x
|  |  | 1x | 4 | 3.5 | 9
| ddH20 |  | 7.8 | 31.2 | 27.3 | 70.2
| primer 1 |  | 0.6 | 2.4 | 2.1 | 5.4
| primer 2 |  | 0.6 | 2.4 | 2.1 | 5.4
| DNA |  | 0 | 0 | 0 | 0
| Readymix |  | 10 | 40 | 35 | 90
| Total |  | 19 | 76
Get ice and setup reaction as cold as possible
Dilute template DNA 10 ng/ul with clean water
| Label mixing tubes | [5 empty] | No. of cycles | Temp (˚C) | Time (sec)
| Label PCR tubes |  |  |  | Stage 1 | Initial denature | 1 | 95 | 3 mins
| Add water to mixing tubes |  |  |  | Stage 2 | Denature |  | 98 | 15 sec
| Add forward primers to mixing tubes |  |  |  |  | Anneal |  | see above | 15 sec
| Add reverse primers to mixing tubes |  |  |  |  | Extension |  | 72 | 45 sec
| Add readymix to mixing tubes |  |  |  | Stage 3 | Final Extension | 1 | 72 | 5 mins
Add mix to PCR tubes
Add DNA to PCR tubes
Flick or pipet to mix
Centrifuge
Run PCR

## 2_Plasmid_Digest
exp_ID_2 | Plasmid_Digest
Add directly after digest
tube | rxn volume | enzyme1 | enzyme2 | cut_size | template | ug | template conc. (ng/ul) | template ul | 10x CutSmart ul | enzyme1 ul | ddH2O | AP buffer | (AP) Antarctic Phosphatase (ul)
1 | 50 | NA | NA | 0 | pAF164 | 1 | 1220 | 0.81967 | 5 | 0 | 38.1803 | 6 | 0
2 | 50 | NotI-HF | Xmal | 584 | pAF164 | 3 | 1220 | 2.459 | 5 | 3 | 33.541 | 6 | 3
3 | 50 | NA | NA | 0 | pAF164 | 1 | 1220 | 0.81967 | 5 | 0 | 38.1803 | 6 | 0
4 | 50 | SalI-HF | NheI-HF | 717 | pAF164 | 3 | 1220 | 2.459 | 5 | 3 | 33.541 | 6 | 3
NotI-HF + SmaI will cut out the coding region for the target protein of interest (e.g. TNFRSF9)
SalI + NheI will cut out the fluorescent protein coding sequence (e.g. mOrange)
Add H20 to PCR tubes
Add cutsmart buffer to PCR tubes
Add DNA to PCR tubes
Add enzyme 1
Add enzyme 1
Incubate overnight at ambient temp
Incubate 15 minutes at 37C
Incubate 20 minutes at 80C
Cool to 4C
Use antartic phosphatase to dephosphorylate vector.
Add 6x AP buffer directly to digest
Add AP directly to digest
Incubate at 37C for one hour and/or overnight at ambient temperature (~20C)
Heat inactivate at 80C for 2 minutes
Add AP directly to digest (6x AP buffer + AP enzyme). One hour at 37C or overnight are ok
In most cases run the the initial digest for 15-60 minutes at optimal temperature, then add AP and incubate O/N at RT
Run all 60ul of digest on agarose gel
Cut out correct gel band
Purify DNA
Check DNA concentration

## 3_Plasmid_Assembly
exp_ID_3 | Plasmid_Assembly
Purpose
|  |  |  | Length |  |  |  |  | Conc (ng/ul)
tube | vector | frag1 | frag2 | Vector (bp) | Frag1 (bp) | Frag2 (bp) | V (ng/ul) | F1 (ng/ul) | F2 (ng/ul) | vector (pmol) | frag1 (pmol) | frag2 (pmol) | vector (ng) | frag_1 (ng) | frag_2 (ng) | Total vol (uL) | Gibnson 2x mastermix | vector (ul) | frag1 (ul) | frag2 (ul) | ddH2O
1 | NEBuilder + control | NA | NA | NA | NA | NA | ? | NA | NA | 0.009 | NA | NA | #VALUE! | NA | NA | 10 | 5 | 5 | 0 | 0 | 0
2 | pAF164 NotI-HF + SmaI + AP' | NA | NA | 8157 | NA | NA | 50 | NA | NA | 0.009 | NA | NA | 45.4023 | NA | NA | 10 | 5 | 0.90805 | 0 | 0 | 4.092
3 | pAF164 NotI-HF + SmaI + AP' | pAF176-1 insert | NA | 8956 | 778 | NA | 50 | 20 | NA | 0.009 | 0.027 | NA | 49.8461 | 13.0169 | NA | 10 | 5 | 0.99692 | 0.65085 | 0 | 3.3522
| http://nebiocalculator.neb.com/ | [9 empty] | 1:3 vector:insert ratio
| Label PCR and dilution tubes | [18 empty] | required mass insert (g) = desired insert/vector molar ratio x mass of vector (g) x ratio of insert to vector lengths
| Place PCR tubes on ice | [10 empty] | NEBuilder lot # | [7 empty] | *vector:insert ratio depends on size (if both similar sizes use 1:1)
| Add nuclease-free water to PCR tubes | [10 empty] | DH5a lot #
| Add 2x NEBuilder mastermix to tubes | [10 empty] | Date or water
[13 empty] | C1 | V1 | C2 | V2 | Dilute
| Using 1:3 ratio of vector:fragments | [11 empty] | ng/ul |  | ng/ul
[12 empty] | pAF176-1 | 30 | 6.6667 | 20 | 10 | 6.7 ul into 3.3 ul water
Add vector to PCR tube
Add fragment 1
Incubate tubes at 50C for one hour
Thaw cells on ice water for 10 minutes. Do not thaw longer than 10 minutes
Transform tubes 1-3 using NEB DH5a with 2ul of rxn product
Pipet 2ul 5x
Gently flick tube 3-5x to mix DNA and bacteria
Incubate on ice for at least 30-50 minutes
Heat shock cells at 42° for 30 seconds in water bath (record if not using water bath). Do not mix
| Incubate on ice water for 2 minutes (record order) |  |  |  |  | NOTE: The heat shock procedures need to be done rapidly (cold to hot to cold)
Add 950 μL of SOC media to all other tubes
Incubate at 37C for 60-90 minutes at 200 rpm. Tube should be horizontal. Make sure liquid is mixing
Make sure LB + antibiotic plates are warm and dry
Spread 100ul onto LB + antibiotics plates (plate A) for each assembly
Spin remaining broth in tubes at 8000g for 30 seconds
Resuspend in 100ul of residual media
Spread the remaining 100ul on LB + antibiotic plates (plate B) for each assembly
Incubate overnight at 37C
Record colony numbers
Test 3-5 colonies by PCR.
Transfer positive colonies and amplify in 5 mL LB + antibiotics at 180rpm at 37°C 50ml tube
Do miniprep of 3-5 mL bacteria broth; store 1ml at 4C for inoculating large batch
Sequence plasmids using a forward and reverse primer; only one primer per/sequencing reaction
Make 3 glycerol stocks of each clone. 250 μL of autoclaved 80:20 glycerol:water + 750 μL of bacterial broth

## 4_Colony_PCR
exp_ID_4 | Colony_PCR
tube | DNA/RNA | target | fw_primer | rev-primer | dna.conc (ng/ul) | primer.conc (uM) | total.vol (ul) | total primer vol. (ul) | dna (ng) | dna (ul) | readymix | water (ul) | expected_size | anneal_temp | Column1
1 | water | NA | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1.2 | NA | NA | 10 | 8 | 0 | 55 35x
2 | pAF123.1 | DNA filler | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1.2 | NA | 1 | 10 | 8 | 337 | 55 35x
3 | 1c1 (negative control plate - i.e. agar only) | NA | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1.2 | NA | 1 | 10 | 8 | 0 | 55 35x
4 | 2c1 (NEBuilder positive control) | NA | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1 | NA | 1 | 10 | 8 | 0 | 55 35x
5 | 3c1 | pAF176 insert | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1 | NA | 1 | 10 | 8 | 1648 | 55 35x
6 | 3c2 | pAF176 insert | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1 | NA | 1 | 10 | 8 | 1648 | 55 35x
7 | 3c3 | pAF176 insert | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1 | NA | 1 | 10 | 8 | 1648 | 55 35x
8 | 3c4 | pAF176 insert | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1 | NA | 1 | 10 | 8 | 1648 | 55 35x
9 | 3c5 | pAF176 insert | pSB_EF1a_seq_f | pSB_bGH_seq.REV | NA | 10 | 20 | 1 | NA | 1 | 10 | 8 | 1648 | 55 35x
|  |  |  | 1x | 10
|  | ddH20 |  | 8 | 6
|  | primer FOR. |  | 0.6 | 6
|  | primer REV. |  | 0.6 | 0
|  | DNA |  | 0 | 100
|  | Readymix |  | 10 | 192
|  | Total |  | 19.2
Label 2 sets of PCR tubes
Add 10ul of PBS to one set of PCR tubes
Label mixing tubes
|  | Label PCR tubes | [8 empty] | No. of cycles | Temp (˚C) | Time (sec)
|  | Add water to mixing tubes | [6 empty] | Stage 1 | Initial denature | 1 | 94 | 3 mins
|  | Add forward primers to mixing tubes | [6 empty] | Stage 2 | Denature |  | 94 | 15 sec
|  | Add reverse primers to mixing tubes | [7 empty] | Anneal |  | 60 | 15 sec
|  | Add readymix to mixing tubes | [7 empty] | Extension |  | 68 | 75 sec
|  | Add mix to PCR tubes | [6 empty] | Stage 3 | Final Extension | 1 | 68 | 5 mins
Stab bacteria colonies and add to PBS tube, then to PCR tube
Store PBS bacteria to inoculate into broth later
Flick or pipet to mix
Centrifuge
Run PCR

## 5_Plasmid_sequencing
exp_ID_5 | Plasmid_sequencing
# | Experiment_ID | Plasmid | Colony | ID | DNA conc (ng/µL) | Primer | primer (μL) | DNA (μL) | Seq Buffer (μL) | Big Dye Terminator (μL) | H2O (μL) | Volume | Result | Read_length | QV20+ | Notes
1 | ID_4 | pAF164 | 1 | ID_4_pAF164_1 | 500 | pSB_EF1a_seq.FOR | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
2 | ID_4 | pAF176 | 1 | ID_4_pAF176_1 | 500 | pSB_EF1a_seq.FOR | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
3 | ID_4 | pAF176 | 2 | ID_4_pAF176_2 | 500 | pSB_EF1a_seq.FOR | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
4 | ID_4 | pAF176 | 3 | ID_4_pAF176_3 | 500 | pSB_EF1a_seq.FOR | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
5 | ID_4 | pAF176 | 4 | ID_4_pAF176_4 | 500 | pSB_EF1a_seq.FOR | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
6 | ID_4 | pAF176 | 5 | ID_4_pAF176_5 | 500 | pSB_EF1a_seq.FOR | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
7 | ID_4 | pAF176 | 1 | ID_4_pAF176_1 | 500 | pSB_bGH_seq.REV | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
8 | ID_4 | pAF176 | 1 | ID_4_pAF176_1 | 500 | pSB_bGH_seq.REV | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
9 | ID_4 | pAF176 | 2 | ID_4_pAF176_2 | 500 | pSB_bGH_seq.REV | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
10 | ID_4 | pAF176 | 3 | ID_4_pAF176_3 | 500 | pSB_bGH_seq.REV | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
11 | ID_4 | pAF176 | 4 | ID_4_pAF176_4 | 500 | pSB_bGH_seq.REV | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
12 | ID_4 | pAF176 | 5 | ID_4_pAF176_5 | 500 | pSB_bGH_seq.REV | 1 | 1.2 | 1.75 | 0.25 | 5.8 | 10
Setting up Sequencing Reactions
Prepare a BDT and sequencing buffer mix in a microfuge tube and then aliquot to PCR tubes (i.e. 12 tubes + 2 "extra" tubes because 0.25 uL is too small to accurately pipet)
In a 10μL reaction set up using a cold block
|  | Primer 1 mix |  | Primer 2 mix
|  | 1X vol (μL) | 7X vol (μL) | 1X vol (μL) | 7X vol (μL)
|  | 1 | 7 | 1 | 7
Sequencing Buffer |  | 1.75 | 12.25 | 1.75 | 12.25
Big Dye Terminator |  | 0.25 | 1.75 | 0.25 | 1.75
DNA μL (100-500ng for plasmid) |  | X | X | X | X
Primer 1 |  | 1 | 7 | 0 | 0
Primer 2 |  | 0 | 0 | 1 | 7
Add H2O to 10 μL for each tube |  | 10 - 1.75 - 0.25 - X - 1
Aliquot ddH2O into PCR tubes
Aliquot DNA into PCR tubes
Aliquot primer into PCR tubes
Aliquot BDT + sequencing buffer mix into PCR tubes (2 uL/tube)
Run on thermal cycler (BDT Standard*), for fragments less than 500bp you can use the fast cycling protocol (saves ~1hr)
Denature |  |  | 96°C for 10 secs
Anneal |  |  | 55°C for 5 secs |  | * 50 C is recommended but the annealing temperature are generally higher, so we usually 55 C
Extend |  |  | 60°C for 4 mins
Cycles |  |  | 35 |  | * 25 cycles is ok, but usually results in a residual 'dye front' in the results
AGENCOURT CleanSeq Purification
Vortex the CleanSeq tube to resuspend any magnetic particles that may have settled. Add 10ul of CleanSeq to each sample.
Add 85% EtOH to the sample according to the table below. Mix reaction thoroughly by pipette mixing or by replacing the lids and inverting several times. The mixture should be homogenous after mixing.
|  |  | PCR vol (μL) | Volume of 85% EtOH (μL)
|  |  | 5 | 31
|  |  | 10 | 42
|  |  | 15 | 52
|  |  | 20 | 62
Place the plate onto the magnetic plate for 3 mins. Wait for the solution to clear before proceeding to the next step.
Aspirate the cleared solution and discard. This must be performed while on the magnetic plate. Do not disturb the ring of beads.
Add 100 μL 85% EtOH, incubating for 30 sec. Aspirate and discard.
Repeat step 5 once.
Dry plate at room temp for 30 minutes
* Critical step: Ensure the samles are allowed to fully dry; residual ethanol will affect results
Add 30 μL water and mix using a pipette or again by adding the caps and inverting several times. Incubate the plate for 2 mins at room temp.
Remove 15 μL of the clear liquid avoiding any beads and add it to the sequencing plate. Be carefμL not to disturb the ring of beads. Indicate with a permanent marker which row you have added your products to, so the next person doesn’t add their products to the same wells.
Denature the clean sequencing products by placing it in the thermal cycler (with the grey septa lids in place) and heating at 95°C for 5 mins. Make sure the heated lid function is switched off.
The reaction plate is now ready to be loaded on to the sequencer.

## 6_Transfection
exp_ID_6 | Transfection
[15 empty] | PBS | PEI
| 6wp layout |  |  | pAF137 |  |  |  |  | pAF138 |  |  |  | pAF139
|  | Total vol/well (ul) |  | 1000 |  |  | Total vol/well (ml) |  | 1000 |  | Total vol/well (ml) |  | 1000
|  | Total wells to transfect |  | 1 | 2 |  | Total wells to transfect |  | 1 | 2 | Total wells to transfect |  | 1 | 2
|  | Tube A (DNA) voul (ul) |  | 100 | 200 |  | Total transfection vol (ml) |  | 100 | 200 | Total transfection vol (ml) |  | 100 | 200
|  | Tube B (PEI) vol (ul) |  | 100 | 200 |  | Tube B (PEI) vol (ul) |  | 100 | 200 | Tube B (PEI) vol (ul) |  | 100 | 200
Tube | Reagent | Conc. (ug/ml) | ug/well |  |  |  | Conc. (ug/ml) | ug/well |  |  | Conc. (ug/ml) | ug/well
|  |  |  | ul | ul |  |  |  | ul | ul |  |  | ul | ul
A | cRF0 | - | - | 96 | 192 |  | - | - | 96 | 192 | - | - | 96 | 192
A | expression vector | 0.5 | 2 | 4 | 8 |  | 0.5 | 2 | 4 | 8 | 0.5 | 2 | 4 | 8
B | cRF0 | - | - | 88 | 176 |  | - | - | 88 | 176 | - | - | 88 | 176 | 176
B | PEI | 1 | 6 | 12 | 24 |  | 1 | 6 | 12 | 24 | 1 | 6 | 12 | 24 |  | 24
| 6wp layout |  |  | pAF164 |  |  |  |  | pAF176_OFP |  |  |  | pAF176_BFP
|  | Total vol/well (ul) |  | 1000 |  |  | Total vol/well (ml) |  | 1000 |  | Total vol/well (ml) |  | 1000
|  | Total wells to transfect |  | 1 | 2 |  | Total wells to transfect |  | 1 | 2 | Total wells to transfect |  | 1 | 2
|  | Total transfection vol (ul) |  | 100 | 200 |  | Total transfection vol (ml) |  | 100 | 200 | Total transfection vol (ml) |  | 100 | 200
|  | Tube B (PEI) vol (ul) |  | 100 | 200 |  | Tube B (PEI) vol (ul) |  | 100 | 200 | Tube B (PEI) vol (ul) |  | 100 | 200
Tube | Reagent | Conc. (ug/ml) | ug/well |  |  |  | Conc. (ug/ml) | ug/well |  |  | Conc. (ug/ml) | ug/well
|  |  |  | ul | ul |  |  |  | ul | ul |  |  | ul | ul
A | cRF0 | - | - | 96 | 192 |  | - | - | 96 | 192 | - | - | 96 | 192
A | expression vector | 0.5 | 2 | 4 | 8 |  | 0.5 | 2 | 4 | 8 | 0.5 | 2 | 4 | 8
B | cRF0 | - | - | 88 | 176 |  | - | - | 88 | 176 | - | - | 88 | 176 | 176
B | PEI | 1 | 6 | 12 | 24 |  | 1 | 6 | 12 | 24 | 1 | 6 | 12 | 24 |  | 24
Day -3 – Thaw cells for transfection
Thaw at least 1x106 CHO-K1 cells
Add to T75 flask in cRF10
Culture overnight and replace media with fresh cRF10
Do not let adherent cells reach >80% confluence, passage if needed
| Day -1 – Aliquot cells into 6-well plates | [13 empty] | 352 | 48
| Remove media from cells | [13 empty] | PBS | PEI
Rinse with 5 mL of sterile room temperature PBS
Remove PBS from flask
Add 4 mL of TrypLE (i.e. recombinant trypsin) to flask to detach adherent cells from the flask
Incubate at 37 °C for 3-5 minutes.
Examine the flask under a microscope. The cells should be floating or appear round at this point
Gently tap the side of the flask to detach the remaining weakly adherent cells
Add 8 mL of cRF10 to the flask
Pipet the cells up-and-down 5X. Each time expel the media towards the base of the flask (i.e. where the adherent cells were) to gently force the weakly adherent cells from the flask.
Transfer the cells to a 50 mL tube.
Spin 200 g for 3 minutes at room temperature.
Count the cells using a hemocytometer or automated counter.
Automated counters are acceptable for cell lines, but often not for primary tissues (e.g. blood cells).
Dilute the cells to 1x105 cells/ml in cRF10.
Transfer 2.5 mL of cells (2.5x105 cells) to each well in a 6-well plate.
Incubate overnight.
Day 0 - Transfection
Examine the cells using a microscope. Cells should to be 50-70% prior to the transfection.
If the density is too low, then wait until the next day.
If the density is too high, then discard this plate and go back to day -1 to plate a new batch of cells.
Thaw plasmids and PEI transfection reagent on ice.
Thaw the plasmids and PEI completely (i.e. no solids remain in the tubes).
Whilst thawing, label a microfuge tube for each plasmid.
Prepare a mastermix of PEI in PBS in a microfuge tube (or 15 mL tube for larger transfections)
a. Make 1.2X the amount needed to ensure there is enough mastermix.
Table PEI calculations
|  |  |  | 1.2 |  |  |  | 1.2
|  |  | μL | μL |  |  | μL | μL
|  | PBS = | 352 | 422.4 |  | PEI = | 48 | 57.6
Add PBS to mastermix
Add PEI to mastermix
Mix by gently pipetting. Do not vortex
Add 100 μl PBS to microfuge tubes that will be used for each plasmid
Add 1 μL of plasmid DNA to appropriate microfuge tube
Mix by gently pipetting. Do not vortex
Add 100 μL from mastermix (PEI in PBS) into microfuge tubes that contain plasmid DNA
Mix by gently pipetting once. Do not vortex
Incubate at room temperature for 15 minutes
Aspirate the media on the CHO cells
Gently add 2 mL of warm cRF10 to the cells
Gently replace media on CHO cells with 2ml fresh cRF10
Add 200 μL from the DNA:PEI solutions one drop at a time to appropriate wells
Gently rock the plate back and forth to spread the PEI:DNA complex throughout the well.
Do not swirl the plate
Incubate cells with transfection reagents in cRF10 for 3-24 hours
Replace the media with 2 mL of warm cRF10 the next morning. If toxicity is a problem, then change media after 3-6 hours
Examine cells using a fluorescent microscope or via flow cytometry to detemine transfection efficiency.
If your plasmids do not contain a fluorescent reporter, then include a standard fluorescent protein vector (e.g. GFP) to help monitor transfection success.
For flow cytometry, we often just collect the floating cells and run through the flow cytometer. This will consist mainly of dead cells, but should be able to provide a yes/no answer about whether or not the transgenes are expressed in the cells.
Add selection reagent (i.e. hygromycin at 800 μg/ml) as soon as reporter is visible or after 24 hours
Monitor daily and record fluorescence and confluence.
Massive cell death should occur within 1-3 days if using a high dose of hygromycin. Remove the floating cells every other day and replace with fresh cRF10 with 800 μg/mL of hygromycin.
Small colonies of cells should start forming in 2-5 days.
Allow colonies to divide to reach at least 20 cells before using TrypLE to detach cells
When cells are actively proliferating in high dose hygromycin, then passage cells using TrypLE as described above in the Day – 1 steps.
When all cells express the reporter protein (i.e. drug selection is complete) or when all cells appear healthy in the flask, then the hygromycin dose can be dropped to 100-200 μg/mL.
Expand the cells and freeze.
3-5 vials is enough unless you will be using these cells regularly.
For cells secreting recombinant proteins we generally purify one large batch that lasts for several years.

## 7_Flow_Cytometry
exp_ID_7 | Flow_Cytometry
Purpose:
To test the binding of FAST proteins to cell lines transfected with receptors expected to bind to the protein-of-interest (e.g. 41BB-mCitrine bind to CHO.41BBL cell lines)
Overview:
Single-step assay that adds FAST proteins to target cells and live-cultures the cells with the proteins. The soluble protein can bind the surface receptor and remain on the surface of the cell or enter the cell via receptor-mediated endocytosis. Lysosomal degradation of the captured protein is blocked via the use of chloroquine or ammonium chloride, which allows fluorescent signal to potentially accumulate over time and yield a stronger signal. The cells are then washed a single time prior to analysis via flow cytometry.
Note:
If you only have a single FAST protein (e.g. 41BB-mCherry), then you won't have a proper negative control (e.g. mCherry only). However, by testing the single FAST protein against several cell lines you can determine if your protein binds specifically to the expected cell line. For example, test the 41BB FAST protein against wild type (CHO), vector only (CHO.pAF112), 41BBL (CHO.pAF91), and PDL1 (CHO.pAF146) cell lines. If the 41BB FAST protein binds only to CHO.pAF91, then a strong inference can be made that the expected protein interaction occurs.
Thaw your original CHO cell line that secreted the FAST proteins for each colour used. These can be used a single color positive controls for setting up the flow cytometer. These can be thawed the day before the assay in cRF10 and used the next day.
In this assay we will prepare a "quick load" plate that contains the FAST proteins at their final staining concentration. This allows use of a multichannel pipet for quick transfer of the treatment to the wells with the target cells and reduces variation in staining time.
Plate layout
|  |  |  | pAF164 | pAF164 | pAF164 | pAF176_BFP | pAF176_BFP | pAF176_BFP | pAF176_OFP | pAF176_OFP | pAF176_OFP
|  |  |  | saha_41BB-ECD-mCherry | saha_41BB-ECD-mCherry | saha_41BB-ECD-mCherry | saha_CD200-ECD-mTagBFP | saha_CD200-ECD-mTagBFP | saha_CD200-ECD-mTagBFP | saha_CD200-ECD-mOrange | saha_CD200-ECD-mOrange | saha_CD200-ECD-mOrange
Cell line | Target |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
CHO | wild type | C
CHO.pAF112 | vector control | D
CHOpMK1 | sah_CD200 ful-length | E
CHO.pNP1 | sah_CD200R1 ful-length | F
G
H
Materials and reagents needed
T75 sterile tissue-culture treated cell culture flask with vented cap - 1 for each cell line used
1X U-bottom 96-well plate (sterile with lid)
1X U-bottom 96-well plate (sterile with lid) for aliquoting treatments for rapid loading of warm treatments (i.e. this is the "quick load" plate)
sterile microfuge tubes - 1 for each FAST protein used
sterile 50 mL tubes - 2 for each cell line
sterile 5 mL tubes - 1 for each cell line used
Automatic pipetter and 10 mL sterile pipets
Pipets and sterile pipet tips (10 μL, 100 or 200 μL, and 1000 μL)
Flow cytometer that can detect mTagBFP, mCitrine, and mCherry
Centrifuge
Incubator at 37 ° with 5% CO2
Laminar flow biosafety cabinet (i.e. sterile hood to work in)
70% ethanol
Bleach
Warm TrypLE
Warm cRF5 or cRF10 (>300ml)
Hygromycin 200 μg/mL (H200) in cRF5. Hygromycin stock generally is at ~ 50 mg/mL
0.1 M chloroquine
Ammonium chloride can be used instead of chloriquine and won't require purchasing new reagents for most labs, but we generally use chloroquine.
FAST proteins (___ μg - depends on number of cell lines used) * Thaw fresh batch if needed*
Cold FACS buffer (without EDTA - we haven't tested if EDTA affects FAST protein binding to cell lines). A healthy CHO cell line does not clump, so no need for EDTA.
Warm cRF5 (~100 mL)
name | reagent | percent | 2: conc; 4: stock; 6: volume; 8: mass; 10: molecular mass
Ammonium and chloride and chloroquine perform similarly in this assay, so choose one. This protocol uses chloroquine
Ammonium chloride (block lysosomal degradation)
| NH4Cl Ammonium chloride |  | 2: 1; 3: M; 8: 1.3373; 9: g; 10: 53.49
| MilliQ water |  | 6: 0.025; 7: L
Filter sterilise
* Use at 10-40 mM for blocking lysosomal degradation of protein
Chloroquine (block lysosomal degradation)
| chloroquine |  | 2: 0.1; 3: M; 8: 1.2897; 9: g; 10: 515.86
| MilliQ water |  | 6: 0.025; 7: L
Filter sterilise
* Inhibition of endosomal acidification can be achieved with 10-100 µM chloroquine. Briggs 2014 used 100 μM
* Concentration made here is 100 mM. Dilute 1000x into cμLture media for working concentration of 100 μM
Dilute 0.1 M chloroquine 0.05 mL into 50 mL cRF5 (= 0.1 mM = 100 μM)
Burr 2017 CMTM6 paper used 50 μM chloroquine
Briggs 2014 thesis used 100 μM chloroquine (2-6 hours have similar resμLts for trans-endocytosis)
Day -3
Thaw target cells in cRF10 with H200
| Cell line | target
| CHO | wild type
| CHO.pAF112 | vector control
| CHOpMK1 | sah_CD200 ful-length
| CHO.pNP1 | sah_CD200R1 ful-length
Day -2 to day 0
Replace media with cRF5 and passage if needed
Confluence should be < 80% on the day the assay begins, so passage cells as needed to ensure cells are in proliferation phase when assay begins
Day 0 - Binding assay
Warm TrypLE and cRF5 in water bath
Thaw FAST proteins on ice
*** Proteins must be diluted in cRF5 + chloroquine
Table 1 - FAST protein dilutions
Treatment | Treamtent details | Total wells + extra | 1: Total μL/well during staining; 2: Total volume needed (μL); 3: FAST protein stock concentration (μg/μL); 4: μg needed/well; 5: μL needed/well; 6: μL treat total; 7: μl cRF5 + choloroquine needed (100 μL/well)
pAF164 | 41BB-ECD-mOrange | 14 | 1: 100; 2: 1400; 3: 0.94; 4: 2; 5: 2.1277; 6: 29.7872; 7: 1370.2128
pAF176_BFP | CD200-ECD-mTagBFP | 14 | 1: 100; 2: 1400; 3: 0.92; 4: 2; 5: 2.1739; 6: 30.4348; 7: 1369.5652
pAF176_OFP | CD200-ECD-mOrange | 14 | 1: 100; 2: 1400; 3: 0.95; 4: 2; 5: 2.1053; 6: 29.4737; 7: 1370.5263
|  |  | Total | 4200 | μL
|  |  | Round up to: | 5 | mL
Protein binding kinetics are influenced by temperature, so it is important to maintain consistent temperatures across treatments.
Avoid using the outside wells on a plate for an assay in which temperature and moisture content are important. These wells heat the fastest and have the highest evaporation rate.
Transfer 5 mL of cRF5 to 5 mL tube
Add 5 μL of 100 mM chloroquine to achieve 100 μM chloroquine in cRF5
Transfer 1.4 mL of cRF5 with 100 μM chloroquine into microfuge tubes (1 for each different FAST protein)
Transfer appropriate volume of FAST protein into microfuge tube
Aliquot 110 μL of diluted FAST prteins into appropriate wells quick load U-bottom 96wp
Aliquote 110 μL of PBS into all other wells. These are used to maintain humidy and temperature in wells without cells.
Note: You will transfer 100 μL from this plate to the assay plate below.
Store the quick load plate at 37 °C with the lid on until needed (shouldn't be more than an hour or two)
Preparation of adherent target cell lines
Decant media from target cells in T75 flasks into a waste reservoir containing bleach (final concentration of bleach in the reservoir at the end of the experiment should be > 10%
If using a different target cell line that is not adherent (i.e. suspension cells), then trypsin is not need and cell can be transferred directly to a 50 mL tube and centrifuged
Transfer 5ml of room temperature PBS into the flask
Gently rock the flask back-and-forth to rinse the cells
Decant the PBS from the flask into the waste reservoir
Add 3ml warm TrypLE to each flask
Incubate for 5 mins at 37
Add 7 mL of warm cRF5 to T75 flasks
Use a 10 mL to pipet up and down and gently expel the media against the base of the flask (i.e. where some cells might still be adhering to the flask)
Use a 10 mL pipet to transfer the cells to the appropriate 50 mL tube
Centrifuge at 200 g for 4 minutes
Decant the media into the waste reservoir
Resuspend the cells 2 mL of warm cRF5
Without choloroquine for this step
Count the cells using an automated cell counter or a hemocytometer
Table Cell Counts |  |  | 11: * See plate layout above
# | gene | ID | plasmid | count1 | cells1/mL | count2 | cells2/mL | count3 | cells3/mL | average | mL | cells available | wells needed + extra | cells/well need | calculated cells needed | mL needed from cell stock (=cells needed/cell per mL)
1 | NA | CHO | 1: NA; 11: 10; 12: 100000 | #REF!
2 | luciferase | CHO.pAF112 | 1: vector control; 11: 10; 12: 100000 | #REF!
3 | saha_CD200 | CHOpMK1 | 1: sah_CD200 ful-length; 11: 10; 12: 100000 | #REF!
4 | saha_C200R1 | CHO.pNP1 | 1: sah_CD200R1 ful-length; 11: 10; 12: 100000 | #REF!
* 25,000-100,000 cells are ok as long as consistent across cell lines
Transfer appropriate volume from cell stock into new 50 mL tube (i.e. volume to reach 1x10^6 cells)
Top up tube to 10ml with cRF5
Spin 200 g x 4 minutes
Whilst spinning, aliquot 1 x 10^5 to 1 x 10^6 cells back into original flask for future experiments if needed.
Add cRF5 with H200 to reach 5 mL in T25 flask or 12 mL in T75 flask
Quickly load the assay plates
Retrieve the 50 mL tubes from the centrifuge and remove the supernatant (always check for a pellet before removing supernatant).
Transfer 1 mL of cRF5 + chloroquine into the tube and pipet 5X to resuspend 1 x 10^6 cells/mL
Quickly transfer 100 μL of cells from the appropriate tube to the appropriate wells (see plate layout above)
Quickly examine cells using a microscope to ensure cells are round and healthy
Note: It is difficult to focus the lens when U-bottom plates, so focus on the very bottom of the well and you can see the cells well enough to confirm they are present
Remove quick load plate from 37 °C only when to load.
Use a multichannel pipet to quickly transfer 100 μL from the quick load plate containing FAST proteins to the assay plate containing the cells
Note: Use the multichannel pipet to gently mix the cells 5X. Discard the pipet tips and get new tips for each transfer.
Incubate at 37 °C for 1 to 3 hours
Prepare the assay plates for flow cytometry analysis
Spin the plates at 500 g for 3 minutes
Removed the lid of the plate, turn it upside down and dump out the media.
Note: If you do not have experience doing this, fill a test plate with water and practice before using the real cells. Surface tension holds the liquid in plate when the plate is inverted. To dump the media, use a rapid downward movement and then stop the motion smoothly without jerking the plate back up.
Add 100 μL of warm TrypLE to each well that contains cells
Incubate at 37 °C for 5 minutes
Examine the cells using a microscope to ensure the cells are no longer adherent to the plate
Add 100 μL of cold FACS buffer (with NaN3)
Pipet 5X to create a single-cell suspension
Spin the plates at 500 g for 3 minutes at 4 °C
Removed the lid of the plate, turn it upside down and dump out the media.
Resuspend the cells 5X in 200 μL FACS fix using a mutlichannel pipet
Incubate at 4 °C for at least 15 minutes
Note: Storing the plate on a rocking platform during this step is helpful but not necessary
Note: For FAST proteins with predicted low-affinity, it might be best to run the cells directly in the FACS buffer
Spin 500g x 3 minutes
Resuspend in 250 μL FACS buffer and transfer to FACS tubes
Note: If your flow cytometer has a plate loader, you can run the cells directly from the plate. However, if this is the first time trying the assay it might be best to run the cells from tubes instead of plates.
Store at 4 °C until flow cytometry analysis
* Test mTAG-BFP at multiple wavelengths. Spillover into higher wavelengths is possible.
Table Excitation and Emission Spectra
| Excitation % max |  | 4: Emission % of max
Laser (nm) | 355 | 405 | 488 | 532 | 640 | 405 | 488 | 488 | 532 | 532 | 532 | 532 | 532 | 640
Filter (nm) | NA | NA | NA | NA | NA | 448/59 | 513/26 | 530/11 | 561/4 | 561/14 | 576/21 | 622/22 | 671/30 | 795/50
mTAG-BFP | 20 | 90 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
mOrange | 4 | 0 | 21 | 65 | 0 | 0 | 0 | <5 | >20 | >40 | >40 | <20 | 0 | 0
mCherry | 15 | 2 | 10 | 44 | 0 | 0 | 0 | 0 | <5 | <5 | <10 | ~50 | 0 | 0
| Excitation wavelength in nanometers (nm) |  | 4: Excitation wavelength in nanometers (nm)
Flow cytometry
If this is your first time doing flow cytometry, then you will need to find a colleague with experience to help you on this first assay. Do not be shy about reaching across disciplines, this could be a good opportunity for collaboration.
Decant media from your single color positive control cell lines (e.g. cells that secreted your FAST proteins - CHO.pAF164m, CHO.pAF176_BFP, CHO.pAF176_OFP)
Transfer 5ml of room temperature PBS into the flask
Gently rock the flask back-and-forth to rinse the cells
Decant the PBS from the flask into the waste reservoir
Add 3ml warm TrypLE to each flask
Incubate for 5 mins at 37
Examine cells using microscope to ensure the cells look round and not adherent. If the cells look round but are still adherent, give the flask a gentle tap to dislodge the cells from the flask.
Add 7 mL of cold FACS buffer to the flask
Use a 10 mL to pipet up and down and gently expel the media against the base of the flask (i.e. where some cells might still be adhering to the flask)
Centrifuge 500 g for 3 minutes at 4 °C
Thoroughly resuspend the cells in flow cytometry fixation buffer.
Store at 4 °C in the dark (i.e. wrapped in aluminium foil) until needed.
Note: These can be store for months and reused as controls for setting up the flow cytometer.
Activate the lasers and filters on yoru flow cytometer as described in Table Excitation and Emission Spectra
Create plots for analyzing your samples
Foward Scatter-Height X Side Scatter-Height (use to identify target cell population - i.e. live cells)
Forward Scatter-Area X Forward Scatter-Height (use to identify doublets)
BFP-Height X mOrange-Height
Note: You can also create a histogram for each color
Run your first sample using the default settings on the flow cytometer (based on daily quality control testing).
Identify your target population using the Forward Scatter (size) and Side Scatter (granularity) properties .
Draw a gate around your target population.
Identify singlets using the Forward Scatter-Area X Forward Scatter-Height plot.
Draw a gate around the single cell population.
Add a quadrant gate to each of the multicolor plots. These gates can be adjusted as needed based on fluorescent output of your single color controls
Run your single color controls and adjust voltage and compensation as needed. This requires an experienced flow cytometry user.
Adjust gates as needed.
Note: Cells fixed in formalin might appear slightly different than unfixed cells.
After setting votage and gates, then run samples and record at least 10,000 events
Analyse the data using the software available at your institution.
Note on D127: Andrew Flies: